Anthocyanin Extraction Protocol

Methanol 1%HCL= 45 mL methanol + 450(L HCl

- Using tweezers remove individual plants from the soil and remove the roots with scissors.  Measure the weight of each individual and place in a 1.5 mL microfuge tube.  Place this tube directly into liquid N2 to freeze plant tissue.

- Remove tubes from the liquid N2 and quickly grind the plant tissue with a pestle.  Add 300 (L of Methanol 1%HCl and continue to grind the plant tissue.  Allow extraction to occur overnight in a dark refrigerator.

- Add 200 (L Milli-Q H20 to each tube.  Next, go to the fume hood and add 500 (L of chloroform to each tube.  Spin the tubes in a centrifuge set at the highest rpm for 2-5 minutes.

- Return to the fume hood and extract the supernatant/aqueous (top) solution from the tube using a pipetmann.  To do this start by setting the pipetmann to (400 (L.  Slightly tilt the tube to one side, place the tip of the pipetmann just below the surface and remove the supernatant while moving the tip toward the bottom of the tube.  Place the supernatant in a new 1.5 mL microfuge tube.  Be careful not to remove any white plant tissue or organic (bottom) solution.

- Bring the volume up to 800 (L by adding 400(L of a 60% Methanol 1% HCl : 40% Milli-Q H20 solution to each tube.  For example, if you have 60 tubes you need 24 mL of the 60% 40% solution, therefore mix 14.4 mL Methanol 1%HCl and 9.6 mL Milli-Q H20 then add 400(L of this solution to each tube.  Remember to make a little extra 60%40% solution so you don’t run out on the last tube!

- Read the absorbance of each tube at 530nm and 657nm using the spectrophotometer or plate reader.  The blank should be 480(L Methanol 1%HCl and 320(L Milli-Q H20 for a total of 800(L.

Chlorophyll Extraction Protocol

1)  Label and fill the appropriate number of tubes with 800(L of DMF in the fume hood.

2)  Remove 3.0-4.0 mg of leaf tissue and record the weight.  Place the leaf tissue in the DMF and let sit for at least 2 hours in the dark.  You can leave in the dark, 4oC overnight if necessary.

- Read the absorbance of each tube at 647nm and 664nm using the spectrophotometer or quartz microplate reader (200 l).  The blank should be 800(L of DMF or 200 l DMF for the plate reader.  DMF will dissolve plastic, and that is why a quartz microplate is needed.

- Equations for chlorophyll can be found on the DMF template posted on the www.csulb.edu/~bruss website.  These formulas will give a concentration of g Chl/mg fresh weight.  These formulas are based on a 1 ml volume.  If you extract Chl in 0.8 ml, be sure to multiply the final value by 0.8 since your sample is more concentrated.

References

Chlorophyll

Porra RJ, Thompson WA and Kriedmann PA (1989) Determination of accurate extinction coefficients and simultaneous equations for assaying chlorophylls a and b extracted with four different solvents: verification of the concentration of chlorophyll standards by atomic absorption spectroscopy. Biochem Biophys Acta 975: 384–394

Anthocyanin

Michael M. Neff and Joanne Chory (1998) Genetic Interactions between Phytochrome A, Phytochrome B, and Cryptochrome 1 during Arabidopsis Development  Plant Physiol. 118(1): 27–35.